## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Penn Street
Scotswood Road
Newcastle Upon Tyne
NE4 7BG
CARRIED OUT ON BEHALF OF
Pattinson Scientific Services Ltd
REPORT NUMBER: 22-14343
DATE OF REPORT: 12/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14343
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Pattinson Scientific Services Ltd
Address | Penn Street
Scotswood Road
Newcastle Upon Tyne
NE4 7BG
Site Address | Penn Street
Scotswood Road
Newcastle Upon Tyne
NE4 7BG
Carried Out On | 12/01/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Change radiator valve

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14343
SECTION 3: Report
Drained down leg, removed faulty valve and replaced. Filled back up and vented (boiler topped up to 1.5 bar), Let heat run through both rads as a heat test to insure no leaks were left.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes