## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 St Cuthberts Road
Windmill Hills
Gateshead
NE8 2LX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-14460
DATE OF REPORT: 12/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14460
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 St Cuthberts Road
Windmill Hills
Gateshead
NE8 2LX
Carried Out On | 12/01/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Survey ahead of install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14460
SECTION 3: Report
Boiler to be removed - ideal logic heat 15 Boiler location - kitchen Flue type - horizontal Flue guard needed - no Stand off kit required - yes Gas meter - external Condensate pump required - no runs external Updated controls required - no Filter needed - magna clean mini Number of bedrooms- 3 Number of bathrooms - 2 Electric shower - no Any other means of heating - no Boiler was only fitted 10 months ago but needs a combi boiler in so this will be a conversion. Tank is in loft so will need two men on site to carry down.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14460
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14460
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14460
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14460
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14460
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes