## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Harvey Court
Consett
County Durham
DH8 6DF
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-14484
DATE OF REPORT: 12/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14484
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 6 Harvey Court
Consett
County Durham
DH8 6DF
Carried Out On | 12/01/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Water pressure problem no water coming through the taps issued by JL

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14484
SECTION 3: Report
Air block cleared by linking hot and cold taps. Survey for new heating system. The way that the existing system is set out means that air locks are going to be a re occurring issue. This is why I think a new pressurised system should be installed. Boiler to stay in current position in hallway cupboard flow and return already in cupboard but would require stand off bracket if converted into a combi. Hot and cold could be picked up easily as bathroom is just next door and there are hot and cold pipes coming from the loft space already. Will require a vertical flue with 3 extensions and 2 45’s. Gas is already in 22 in the boiler cupboard. And job would also require a condensate pump as there is no other option. Boiler to be removed - potterton promax he Boiler location - hallway cupboard Flue type - vertical Flue guard needed - no Stand off kit required - yes Gas meter - external Condensate pump required - yes Updated controls required - yes Filter needed - magna clean pro 2 Number of bedrooms- 2 Number of bathrooms - 1 Electric shower - no Any other means of heating - no When changing to a pressurised system we will more than likely need to get a new shower as the shower currently is tank fed.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14484
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14484
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14484
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14484
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14484
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes