## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Southgate Court
Camsey Close
Newcastle upon Tyne
NE12 8UW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-14679
DATE OF REPORT: 04/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14679
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Southgate Court
Camsey Close
Newcastle upon Tyne
NE12 8UW
Carried Out On | 17/01/2022
Survey Completed By | Andrew Diffley
SECTION 2: Introduction
2 x radiators not working - ground floor near No 14 and stair well 1

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14679
SECTION 3: Report
On arrival, found the return not circulating. Traced fault to commissioning set on 2nd floor by stairwell 1. Cleared impulse tube. Left satisfactory.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14679
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14679
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14679
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14679
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14679
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes