## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Windsor Grange
Windsor Drive
Wallsend
NE28 0NP
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-14731
DATE OF REPORT: 17/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14731
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 1 Windsor Grange
Windsor Drive
Wallsend
NE28 0NP
Carried Out On | 17/01/2022
Survey Completed By | Andrew Diffley
SECTION 2: Introduction
Please check heating in bedroom - not working efficiently.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14731
SECTION 3: Report
On arrival on site found that the system does heat the room but only after approximately 90 minutes. Reduced the flow rate from 1.5 litres to 0.5 and the tenant is going to monitor this. Left site satisfactory.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14731
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14731
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14731
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14731
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14731
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes