## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Victoria Court
Front Street
Cullercoats
NE30 4QR
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-14779
DATE OF REPORT: 20/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14779
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Victoria Court
Front Street
Cullercoats
NE30 4QR
Carried Out On | 03/03/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
6 Month Mechanical Check - TD Feb 2022

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14779
SECTION 3: Report
3 x remeha quinta 115 = operational but poor condition 2 x Hamworthy powerstock calorifiers = operational and good condition Lagging = average 1 x flamco pressurisation unit = operational and good 2 x biral destrat pumps = operational 1= 0.3 amps 2= 0.3 amps 2 x heating expansion vessels = repressurised to 2.5 bar and 2.0 bar 4 x DHWS expansion vessels = repressurised to 2.3 bar 3.5 bar 3.5 bar 3.5 bar 1 x secondary return pump Grundfos alpha2 15-50 = operational 0.3 amps 2 x heating pumps Grundfos 14-120 = operational 1= 0.9 amps 2 = 0.9 amps 2 x primary pumps Grundfos 40-100 = operational = 1.1 amps = 0.7 amps Flue condensate pipe leaking 1 x schnieder heating 3 port valve = operational 2 x DHW 3 port mixing valves = operational 1 x duomo co2 and ch4 gas alarm operational 1 x gas interlock operational

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14779
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14779
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14779
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14779
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14779
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes