## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Tamar Close
North Shields
Newcastle Upon Tyne
NE29 8QR
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-14788
DATE OF REPORT: 04/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14788
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Tamar Close
North Shields
Newcastle Upon Tyne
NE29 8QR
Carried Out On | 03/03/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
6 Month Mechanical Check - TD Feb 2022

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14788
SECTION 3: Report
Carried out a 6 monthly ppm 3 x Hamworthy Fleet f125v boilers = all operational 2 x Hamworthy powerstock calorifiers = all operational 2 x c/w expansion vessels = operational set to 3.5 bar 1 x Hamworthy chessil pressurisation unit = operational 1 x heating expansion vessel = operational set to 1.6 bar Gauges = operational Lagging = good condition Flue = leaking condensate 2 x schnieder m700 3 port valves = all operational 2 schnieder 3 port valves = all operational 2 x heat meters = not registering 1 x duomo co2 and gas sensor operational 1 x gas interlock = operational 2 x biral she strat pumps = operational drawing at 0.3 amps each 2 x zone 1 heating pumps Grundfos magna3d 32-120 = operational 0.1 , 0.9 amps 2 x zone 2 heating pumps Grundfos magna3d 32-100 = operational 0.1 , 0.5 amps 2 x primary flow pumps Grundfos magna3d 40-120 = operational 1.3 , 1.2 amps 1 x DHW secondary return pump Grundfos 25-60 = operational 0.3 amps

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14788
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14788
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14788
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14788
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14788
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes