## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Unity Hall
71 Mill Dam
South Shields
NE33 1EQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-14790
DATE OF REPORT: 23/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14790
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Unity Hall
71 Mill Dam
South Shields
NE33 1EQ
Carried Out On | 17/02/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
AGSC - TD 11.03.2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14790
SECTION 3: Report
Carried out service and inspection to 2 x remeha Quinta 65 boilers found to be operating correctly with no issues also carried out a check of all vt pumps shunt pumps and primary hot water pumps all found to be satisfactory. Had to replace the cooling fan thermostat as this has stopped working causing the room temperature to be over the recommended cooling air temperature. This was taken from van stock and was a Drayton RTS1 thermostat

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14790
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14790
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14790
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14790
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14790
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes