## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Aldwych House
Commercial Road
South Shields
NE33 1UE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-14792
DATE OF REPORT: 23/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14792
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Aldwych House
Commercial Road
South Shields
NE33 1UE
Carried Out On | 10/02/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
AGSC - TD 03.03.2022

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14792
SECTION 3: Report
Carried out a strip down service to 3 Hamworthy Purewell classic 70 auto atmospheric boilers. Found boiler 4 was not working this was due to a faulty hi fire actuator and lo fire actuator and a collapsed damper within the damper plate. The primary flue had to be stripped to rebuild this a new lo fire actuator was supplied from merchants and a hi fire actuator was removed from inoperable boiler number 1 which had previously been brought out of service. Boiler 4 was then recommissioned to manufacture instructions

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes