## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Matfen Court
Chester-Le-Street
County Durham
DH2 2TX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-14794
DATE OF REPORT: 11/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14794
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Matfen Court
Chester-Le-Street
County Durham
DH2 2TX
Carried Out On | 11/02/2022
Survey Completed By | Dave Aston
SECTION 2: Introduction
AGSC - TD 16.02.2022

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14794
SECTION 3: Report
Carry out a cp15 Boiler no 1 has had 4 x pcbs all ok Boiler no 2 had psu chip removed and put in boiler no x 1 to get it to work 1x will shunt pump all ok 1 x fluid automation pressurisation unit all ok noises pump 1 x 250 ltr heating expansion vessel drained and pressure checked 1.5 bar 1trin set wilo heating pump set all ok 1 twin set wilo primary pump set all ok 1 calorfier all ok signs of leaking but not wet 1 wilo secondary pump all ok 1 no dhw 60 ltr expansion vessel drained and pressure set to 3 bar Bms not working and all controls set to manual Flues replaced by others so at risk notice no longer needed Gas meter ECV replaced by others so at risk no longer needed

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes