## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
thomas Swan
Rotary Way
Consett
CARRIED OUT ON BEHALF OF
Thomas Swan & Co Ltd
REPORT NUMBER: 22-14809
DATE OF REPORT: 18/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14809
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thomas Swan & Co Ltd
Address | Rotary Way
Consett
Co Durham
DH8 7ND
Site Address | thomas Swan
Rotary Way
Consett
Carried Out On | 18/01/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Investigate office toilet/s water flow and also no water to the toilet in the ground floor disabled.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14809
SECTION 3: Report
Found that the toilets were flushing okay but the float valve was on the lowest setting so the volume of the flush was poor. Adjusted the float valve to let a bigger flush volume through. Please note that the overflows on both toilets afe not connected and in event of float valve failure there will be a leak. 1.5 hours spent on site.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14809
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14809
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14809
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14809
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14809
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes