## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Lily Gardens
Dipton
Stanley
DH9 8BQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-14829
DATE OF REPORT: 19/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14829
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 23 Lily Gardens
Dipton
Stanley
DH9 8BQ
Carried Out On | 19/01/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Survey ahead of boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14829
SECTION 3: Report
Boiler to be removed - Worcester greenstar ri Boiler location - untilty room Flue type - horizontal Flue guard needed - no Stand off kit required - yea Gas meter - external other side of the wall Condensate pump required - no external Updated controls required - yes Filter needed - magna clean pro 2 Number of bedrooms- 3 Number of bathrooms - 2 Electric shower - 2 Any other means of heating -no No heating or hot water in property Loft hatch is 850mmx500mm Pipe work for hot and cold can be picked up in utility room and be ran surface mounted to pipe boiler up. Existing boiler is piped up as a y plan with pipe work in cupboard in bathroom and tank in loft. Finished 5 o’clock

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14829
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14829
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14829
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14829
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14829
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes