## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
40 Tamar Court
Tamar Close
North Shields
NE29 8QR
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-14841
DATE OF REPORT: 19/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14841
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 40 Tamar Court
Tamar Close
North Shields
NE29 8QR
Carried Out On | 19/01/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
FOW on work from order number W2325879 - Resident can't control heating in flat. No heating in bedroom. We need to return to fit 3No TRVs

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14841
SECTION 3: Report
Attended flat to change 3 trvs. After changing trvs over noticed that there was only heat coming from the flow side of the radiator and not the return very little pressure seeming to be behind it. Checked the plant room where the pressurisation unit was in fault causing the pumps to stop. Removed casing of pressurisation unit to find that the washer was perished causing the flow of water to be little to non, isolated unit and changed washer on ball valve. After unit was full turned back on. Pumps kicked in and flat and rest of building had flow of water meaning the rads were hot all the way through.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14841
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14841
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14841
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14841
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14841
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes