## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
39 Saltersgill Close
Middlesbrough
TS4 3LS
CARRIED OUT ON BEHALF OF
Thirteen Group
REPORT NUMBER: 22-14883
DATE OF REPORT: 25/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14883
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thirteen Group
Address | 2 Hudson Quay
Windward Way
Middlesbrough
TS2 1QG
Site Address | 39 Saltersgill Close
Middlesbrough
TS4 3LS
Carried Out On | 21/01/2022
Survey Completed By | Phillip Rogerson
SECTION 2: Introduction
Uncap & Service

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14883
SECTION 3: Report
Onsite 2.5 hours trying to trace gas escape. Unable to locate. Thirteen group informed and job for new gas run raised.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14883
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14883
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14883
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14883
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14883
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes