## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Jubilee Close
Edmondsley
DH7 6HB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-14903
DATE OF REPORT: 25/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14903
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Jubilee Close
Edmondsley
DH7 6HB
Carried Out On | 21/01/2022
Survey Completed By | Phillip Rogerson
SECTION 2: Introduction
Commission Gas Cooker

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14903
SECTION 3: Report
Onsite after 5pm. Hob not connected to gas supply. Unable to complete job as equipment required. 15mm x 1/2” male iron 90 required, also 2x 15mm elbows. FOW required.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14903
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14903
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14903
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14903
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14903
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes