## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Brackenrigg
Leadgate
Consett
DH8 6FG
CARRIED OUT ON BEHALF OF
Fortify Solutions
REPORT NUMBER: 22-14912
DATE OF REPORT: 27/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14912
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Fortify Solutions
Address | Fortify Solutions
Consett Business Park
Unit 79 View Point
Consett
DH8 6BN
Site Address | 14 Brackenrigg
Leadgate
Consett
DH8 6FG
Carried Out On | 27/01/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Survey for replacement boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14912
SECTION 3: Report
Boiler to be removed - ideal isar Boiler location - kitchen Flue type - horizontal Flue guard needed - no Stand off kit required -no Gas meter - external Condensate pump required - no Updated controls required - yes Filter needed - mini filter Number of bedrooms- 3 Number of bathrooms - 1 Electric shower - no Any other means of heating - no

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14912
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14912
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14912
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14912
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14912
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes