## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rooms Within House
6 Green Lane
Spennymoor
DL16 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-14967
DATE OF REPORT: 25/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14967
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Rooms Within House
6 Green Lane
Spennymoor
DL16 6HD
Carried Out On | 21/01/2022
Survey Completed By | Phillip Rogerson
SECTION 2: Introduction
Repair communal boiler heating has gone off hot water is ok

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14967
SECTION 3: Report
Boiler working ok, motorised valve no operating, and requires exchange. Valve opened manually to get heating back on short term. Email sent to admin account with photos.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14967
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14967
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14967
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14967
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14967
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes