## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Aged Miners Homes
Kelloe
DH6 4PF
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-14968
DATE OF REPORT: 21/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14968
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 11 Aged Miners Homes
Kelloe
DH6 4PF
Carried Out On | 21/01/2022
Survey Completed By | James Shanley
SECTION 2: Introduction
Electric fire has tripped emergency box - (incase the tenants)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14968
SECTION 3: Report
New fire required, No accessible switch for the fire would recommend one is installed New Boiler was installed Wednesday and has a leak on the condensate pipe and new job needs to be raised asap Required materials 2x 90 degree elbows 1x through connector Condensate pipe

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14968
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14968
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14968
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14968
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14968
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes