## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Whinstone Lodge
Front Street
Whitley Bay
NE25 8DJ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-15124
DATE OF REPORT: 03/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-15124
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Whinstone Lodge
Front Street
Whitley Bay
NE25 8DJ
Carried Out On | 28/01/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
There is a RED STOBE LIGHT flashing in the plant room at Whinstone Lodge. Both of the ASPH are showing FLOW FAILED

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-15124
SECTION 3: Report
ASHP had gone in to flow faults no evidence of water leaks in plant room and pressure gauge was showing 1 1/2 bar. Heating plant ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-15124
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15124
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15124
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15124
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15124
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes