## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
28 Orchid Gardens
South Shields
Tyne and Wear
NE34 8ES
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-15196
DATE OF REPORT: 01/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-15196
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 28 Orchid Gardens
South Shields
Tyne and Wear
NE34 8ES
Carried Out On | 01/02/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
New valve for kitchen radiator to be fitted

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-15196
SECTION 3: Report
Radiator had pipe work blockage, done hot flush of radiator until heat started to come through and then balanced the system out.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-15196
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15196
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15196
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15196
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15196
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes