## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
90 Bruce Avenue
Middlesbrough
TS5 4HH
CARRIED OUT ON BEHALF OF
Thirteen Group
REPORT NUMBER: 22-15223
DATE OF REPORT: 10/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-15223
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thirteen Group
Address | 2 Hudson Quay
Windward Way
Middlesbrough
TS2 1QG
Site Address | 90 Bruce Avenue
Middlesbrough
TS5 4HH
Carried Out On | 03/02/2022, 08/02/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Complete the 1st & 2nd fix plumbing works required on Kitchen and Bathroom Replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-15223
SECTION 3: Report
PN 3-2-22 Temp sink install PN 8-2-22 Remove temp sink install kitchen sink 1 metre 15mm copper 2x isolation valve 2x end feed tap connectors Toilet installed in bathroom 10-2-22 Basin installed in bathroom 2x isolation valve 1x taps 1x basin waste 1x bath 1x bath tap with shower mixer 1x bath waste 1xtoilet Basin and toilet to be removed for tiler and reinstalled week commencing 14-2-22 Cloak room toilet and basin to be installed when in stock at wolsely

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-15223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes