## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
30 Lambourne Close
Bournemoor
Houghton-Le-Spring
DH4 6EW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-15244
DATE OF REPORT: 02/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-15244
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 30 Lambourne Close
Bournemoor
Houghton-Le-Spring
DH4 6EW
Carried Out On | 02/02/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Fit additional Rad to lounge under window ---- 21"x57" SC Req with 10mm pipework

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-15244
SECTION 3: Report
57”x 21” single panel myson round top. Lock shield and trv set 20m of 10mm copper 10 15mm tylom double clips 10mm nail on clips 2l of taylon trunking.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-15244
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15244
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15244
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15244
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15244
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes