## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Jubilee Close
Edmondsley
DH7 6HB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-15268
DATE OF REPORT: 02/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-15268
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 23 Jubilee Close
Edmondsley
DH7 6HB
Carried Out On | 02/02/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Electricians working on site have hit a water pipe causing a leak. Phone call from John Hepworth requesting our attendance

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-15268
SECTION 3: Report
Repaired cold water pipe and heating pipe in number 23. And filled system back up. Also repaired leak on radiator at number 15 aswell as sorting small issues with boiler to get heating back on for tenant. On site for 2 hours travel included.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-15268
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15268
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15268
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15268
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15268
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes