## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
37 Pannell Avenue
Middlesbrough
TS5 4PX
CARRIED OUT ON BEHALF OF
Thirteen Group
REPORT NUMBER: 22-15324
DATE OF REPORT: 14/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-15324
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thirteen Group
Address | 2 Hudson Quay
Windward Way
Middlesbrough
TS2 1QG
Site Address | 37 Pannell Avenue
Middlesbrough
TS5 4PX
Carried Out On | 09/02/2022, 14/02/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Complete the 1st & 2nd fix plumbing works required on Kitchen Replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-15324
SECTION 3: Report
PN 09-02-22 pre gas survey Temp sink installed PN 14-2-22 3 metres 15mm copper 1x washing machine valve 2x isolation valve 3x 15mm tee end feed 4x 15mm elbows 1 length solvent pipe 40mm

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-15324
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15324
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15324
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15324
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15324
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes