## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 - 31 Chapelville
Front Street
Newcastle upon Tyne
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-15371
DATE OF REPORT: 09/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-15371
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 1 - 31 Chapelville
Front Street
Newcastle upon Tyne
NE13 6EH
Carried Out On | 04/02/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
Flat 6 auto air vent leaking in cupboard Flat 21 auto air vent leaking Flat 31 auto air vent leaking Pump 2 not working correctly Pipe work vibrating all round building flow might need adjusting on pump 1 Flat 21 cold water gate valve needs changed in flat cupboard cannot valve water off to change cartridge on sink

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-15371
SECTION 3: Report
Replaced a faulty sensor on pump 2. This was taken from stock at the stores a Grundfos magna 3 kit sensor Flat 6 sorted Flat 31 2 auto air vents replaced Flat 21 1 auto air vent replaced - These were picked up from merchants And for the vibration issues the pumps have been put in to auto adapt this seems to of cleared the noise but have asked for this to be monitored

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-15371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes