## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Kestrel Lodge
Saville Street
South Shields
NE33 2PT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-15385
DATE OF REPORT: 05/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-15385
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 Kestrel Lodge
Saville Street
South Shields
NE33 2PT
Carried Out On | 05/04/2022
Survey Completed By | Russell Cowan
SECTION 2: Introduction
Investigate blockage in gas pipe - renew if required

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-15385
SECTION 3: Report
Tested 11mb at boiler. Removed gas valve at boiler, no blockage. Cut 22mm gas pipe a meter away from boiler inbetween 2 elbows. No signs of blockage, used hoover. Tested again, 12.5mb at boiler. From coming off meter, 3/4 inches off union then into ceiling. Comes down in kitchen behind corner boxing. T’s off at bottom. 15mm supply to cooker. 22mm to boiler, pipe runs round kitchen behind sink and units. To replace 22mm pipe in kitchen:- Requires kitchens units been removed underneath boiler and corner boxing. 4 lengths of 22mm

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-15385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes