## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Aged Miners Homes
Park Lane
Murton
SR7 9RW
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-15401
DATE OF REPORT: 06/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-15401
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 10 Aged Miners Homes
Park Lane
Murton
SR7 9RW
Carried Out On | 06/02/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Issues with boiler - ongoing issues

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-15401
SECTION 3: Report
PN 6-2-22 Diverter valve not moving when hot water turned on at tap Electricity trips when turned on in morning via switch Recommend to customer to use thermostat to control heating and leave switch turned on

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-15401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes