## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
31 Chapelville
Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-15433
DATE OF REPORT: 16/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-15433
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 31 Chapelville
Front Street
Seaton Burn
NE13 6EH
Carried Out On | 10/02/2022
Survey Completed By | David Hunter
SECTION 2: Introduction
Heating not reaching potential in flat. None at all in bathroom.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-15433
SECTION 3: Report
DH - 10/2/22 Attended property to find return pipework from the UFH manifold to be cold, vented the automatic air vents within the storage/utilities cupboard, additionally the manifold flow rates were restricted to the rooms with the lesser heat demand and water was drain through the flow pipework until the water within the circuits started to circulate. Next steps - Check with the tenant if the heating is still on, if the heating has diminished then DH to return with thermal camera and investigate further. No parts were used on the visit, cartridges are fine.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-15433
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15433
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15433
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15433
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15433
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes