## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Aged Miners Homes
Windy Nook
Gateshead
NE10 9RN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-15638
DATE OF REPORT: 13/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-15638
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 14 Aged Miners Homes
Windy Nook
Gateshead
NE10 9RN
Carried Out On | 13/02/2022
Survey Completed By | James Shanley
SECTION 2: Introduction
Job Description - No Heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-15638
SECTION 3: Report
Topped up the pressure on the boiler Purged gas due to not wanting to fire up straight away. Bleed radiator in the front hallway due to it not heating up and being full of air.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-15638
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15638
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15638
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15638
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15638
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes