## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
78 Bruce Avenue
Middlesbrough
TS5 4HH
CARRIED OUT ON BEHALF OF
Thirteen Group
REPORT NUMBER: 22-15829
DATE OF REPORT: 24/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-15829
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thirteen Group
Address | 2 Hudson Quay
Windward Way
Middlesbrough
TS2 1QG
Site Address | 78 Bruce Avenue
Middlesbrough
TS5 4HH
Carried Out On | 18/02/2022, 24/02/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Complete the 1st & 2nd fix plumbing works required on Kitchen

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-15829
SECTION 3: Report
PN 18/2/22 2x 40 mm elbows 2x 40mm 45s 2x tap connectors 2 x 15mm elbows 1x 15mm street elbow 2x 15mm isolation valve 1 metre 15mm copper 2metres waste pipe 40mm 24/2/22 Taps replaced for shower mixer taps 24/2/22 Shower curtain and rail to be done

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-15829
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15829
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15829
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15829
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15829
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes