## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
46 Whinney Banks
Middlesbrough
TS5 4JB
CARRIED OUT ON BEHALF OF
Thirteen Group
REPORT NUMBER: 22-15842
DATE OF REPORT: 24/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-15842
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thirteen Group
Address | 2 Hudson Quay
Windward Way
Middlesbrough
TS2 1QG
Site Address | 46 Whinney Banks
Middlesbrough
TS5 4JB
Carried Out On | 21/02/2022, 24/02/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Complete the 1st & 2nd fix plumbing works required on Kitchen Replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-15842
SECTION 3: Report
PN 21/2/22 Radiator removed Sink removed Temp sink installed 24/2/22 1 length 15mm copper pipe 1sure stop 3x end feed straight 15mm 1x end feed tee 15mm 4x end feed elbow 15mm 2x 15mm isolation valve 2x 15-1/2 tap connectors 1length 40mm solvent weld waste pipe 2x 40mm solvent 45s 2x solvent weld 40mm elbows 1x 40mm pipe clip 1x cooker chain Gas pipe readjusted for cooker Radiator to be installed when plaster is dry

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-15842
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15842
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15842
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15842
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15842
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes