## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Trinity Court
Roman Way
Corbridge
NE45 5JN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-15953
DATE OF REPORT: 04/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-15953
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Trinity Court
Roman Way
Corbridge
NE45 5JN
Carried Out On | 24/02/2022, 29/03/2022, 04/04/2022
Survey Completed By | James Shanley
SECTION 2: Introduction
Yasemin Oliver called this morning to say that there was no heating or hot water in the flats. Emailed Zenith due to there already being a job on the system and they replied saying it was attended last night and should be fine now. Pumps DHWS-2 and VTWS-2 are not on or working. The lights are off. Flat 7 didn't have heating still off.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-15953
SECTION 3: Report
DH - 24/2/22 - Attended site and checked plant room for reported faults and found everything to be functionijng correctly. i then proceeded to flat 7 and then flat 2 and carried out a temp fix in both flats to allow the tenants to have heating in the hall, lounge and kitchen areas by adjusting the amount of water flowing to each circuit. The bedroom circuits have been switched off manually. FoW are to replace the wiring centres in both flats alongside the current timers in each flat.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-15953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes