## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Newbury Avenue
Middlesbrough
TS5 4JD
CARRIED OUT ON BEHALF OF
Thirteen Group
REPORT NUMBER: 22-15971
DATE OF REPORT: 02/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-15971
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thirteen Group
Address | 2 Hudson Quay
Windward Way
Middlesbrough
TS2 1QG
Site Address | 10 Newbury Avenue
Middlesbrough
TS5 4JD
Carried Out On | 25/02/2022, , 02/03/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Complete the 1st & 2nd fix plumbing works required on Kitchen Replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-15971
SECTION 3: Report
PN 25/2/22 Temp sink installed Gas pipe adjusted to boiler 2 lengths 22mm copper 1x 22mm elbow end feed 2x 22mm straight end feed 2/3/22 PN 2/3/22 2 lengths 15mm copper pipe 3x 15mm tees 5x 15mm elbows 2x tap connectors 1/2-15mm 2x isolation valves (van stock) 1x washing machine valve 1 length 40mm solvent pipe 1x solvent elbow 1 length overflow pipe 1 overflow straight 2x overflow 45s 1x solvent tee 40mm 1x 40-22 reducer solvent weld

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-15971
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15971
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15971
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15971
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15971
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes