## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rudyerd Court (Flat 18)
Little Bedford Street
North Shields
NE29 6PD
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-15977
DATE OF REPORT: 18/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-15977
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Rudyerd Court (Flat 18)
Little Bedford Street
North Shields
NE29 6PD
Carried Out On | 24/02/2022
Survey Completed By | David Hunter
SECTION 2: Introduction
No Heating/hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-15977
SECTION 3: Report
DH - 24/2/22 - Attended site and checked plant room for correct operaton and found three boilers to be in fault. All three boilers reset without issue and the site started to recover heat. No folllow on works job complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-15977
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15977
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15977
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15977
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-15977
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes