## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
24 Chapelville
Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-16018
DATE OF REPORT: 18/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16018
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 24 Chapelville
Front Street
Seaton Burn
NE13 6EH
Carried Out On | 28/02/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
Heating faulty

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16018
SECTION 3: Report
No heating was been pumped to the flat. So carried out site investigation of tracing out the pipe work once this was established I began inspecting the commissioning valves and found them to be operating fine. So undone the connections to the UFH manifold and found air trapped in the return side and a blockage in the flow side. While disconnected I unblocked the flow of a hard magnetite residue then vented both circs and got heating all operational. This was all carried out with a Morgan sindal operative observing

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16018
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16018
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16018
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16018
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16018
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes