## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Kilchurn
Blackhill
Consett
DH8 8TQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-16019
DATE OF REPORT: 28/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16019
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 6 Kilchurn
Blackhill
Consett
DH8 8TQ
Carried Out On | 28/02/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Boiler survey

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16019
SECTION 3: Report
Boiler on currently is a back boiler. Primary pipes run through landing cupboard upstairs which will be best position for new boiler. There are currently 6 rads downstairs and 4 upstairs running on 10mm grey push fit. New boiler will be vertical flue with 3 extensions and a set of 45’s, roofer will be required for job. Condensate pump required Updated controls required Room sizes- Living room- 3.5mx7 m (window height 670mm) Kitchen- 3mx3m Back porch- 1.5mx1m Hallway downstairs- 4mx1m Downstairs toilet- 2mx1m Upstairs hallway- 4x1 Bedroom 1- 3mx3m Bedroom 2- 3.5mx3m Bedroom 31 3.5m x 3.5m Bathroom-2.5m x 2.5m Gas meter is internal.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes