## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
39 Whinney Banks
Middlesbrough
TS5 4JB
CARRIED OUT ON BEHALF OF
Thirteen Group
REPORT NUMBER: 22-16038
DATE OF REPORT: 15/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16038
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thirteen Group
Address | 2 Hudson Quay
Windward Way
Middlesbrough
TS2 1QG
Site Address | 39 Whinney Banks
Middlesbrough
TS5 4JB
Carried Out On | 03/03/2022, 08/03/2022, 15/03/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Complete the 1st & 2nd fix plumbing works required on Kitchen Replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16038
SECTION 3: Report
PN3/3/22 Temp sink installed 8/2/22 1x sure stop 1x kitchen mixer taps 1x washing machine valve 3x isolation valves 1x length 15mm copper pipe 2x 15mm tees end feed 2x 15mm straights end feed 3x 15mm elbows 2x 15-1/2 tap connectors 1x length 40mm solvent pipe 1x solvent elbow 15/3/22 Sink replaced with one from lockup

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16038
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16038
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16038
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16038
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16038
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes