## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Derby Avenue
Middlesbrough
TS5 4JE
CARRIED OUT ON BEHALF OF
Thirteen Group
REPORT NUMBER: 22-16040
DATE OF REPORT: 11/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16040
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thirteen Group
Address | 2 Hudson Quay
Windward Way
Middlesbrough
TS2 1QG
Site Address | 4 Derby Avenue
Middlesbrough
TS5 4JE
Carried Out On | 01/03/2022, 04/03/2022, 11/03/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Complete the 1st & 2nd fix plumbing works required on Bathroom Replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16040
SECTION 3: Report
PN 4/3/22 1x 1500 bath 1x basin with pedestal 1x closed coupled toilet 1x mixer bath taps 1x basin taps 2x 3/4-15mm flexi 4x 15mm isolation valves 1x tap connector with isolation valve 2x tap connectors 1x flexi pan connector with 90 elbow 1x low level bath trap 2 length copper pipe 15mm 2x 15mm elbows end feed 1x 15mm straight end feed 1x basin waste 1x p trap 32mm 1x 40mm tee solvent weld 1x 40-32mm reducer 1metre 32mm solvent pipe 1x bath waste 1x 40mm mechanical straight 1 length 40mm solvent pipe 11/2/22 Shower mixer and rail put up Shower curtain tomorrow as paint was wet

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16040
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16040
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16040
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16040
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16040
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes