## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Lynwood House
Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-16076
DATE OF REPORT: 02/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16076
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 14 Lynwood House
Durham Road
Lanchester
DH7 0LS
Carried Out On | 02/03/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Underfloor heating on constantly (cant turn it off ) Reported by Linda scheme officer

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16076
SECTION 3: Report
Found drain off and compression straight in cupboard had been leaking onto actuator for bedroom 2 which caused it to be open constantly therefor tenant unable to control heat. Chopped out drain off valve and replaced with new one. Took straight off used paste and ptfe to get better seal and put back on. After leaks were fixed I replaced faulty actuator head with stock that is in the plant room here.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16076
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16076
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16076
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16076
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16076
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes