## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 Shotley Field View
Consett
DH8 5AN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-16094
DATE OF REPORT: 02/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16094
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 17 Shotley Field View
Consett
DH8 5AN
Carried Out On | 02/03/2022
Survey Completed By | James Shanley
SECTION 2: Introduction
Job Description - Electrics are tripping, unable to locate issue.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16094
SECTION 3: Report
RCD replacement required (RCD 1) on the 17th edition CCU sensitivity tested 20 mA on 0 degrees & 14 mA on 180 degrees & should be between (min 24 mA & max 30 mA) DB Hager RCD type (CD 263U) Power has been restored. intermittent tripping does occur. I have Showed the occupier how to reset when required.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes