## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Aged Miners Home
Tan Hills
Nettlesworth
DH2 3PB
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-16115
DATE OF REPORT: 03/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16115
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 12 Aged Miners Home
Tan Hills
Nettlesworth
DH2 3PB
Carried Out On | 03/03/2022
Survey Completed By | James Shanley
SECTION 2: Introduction
No Electricity

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16115
SECTION 3: Report
Tested internal voltage of the affected property readings as follows between 120v & 170v informed DNO who have attended to investigate. Outcome, is a damaged cable within the property supply cable which should be resolved sometime this evening if not a generator will be supplied by the DNO until power is restored. Power grid log number 275040-A. We have isolated several power outlets by turning off mcb’s to electric cooker, shower & unplugged most of the sockets in the property leaving fridges running, lighting switched on also heating switched on to minimise demand within the property.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16115
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16115
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16115
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16115
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16115
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes