## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Cheviot View
Walls Street
West Allotment
NE27 0RA
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-16220
DATE OF REPORT: 18/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16220
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Cheviot View
Walls Street
West Allotment
NE27 0RA
Carried Out On | 09/03/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
No heating & hot water in building

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16220
SECTION 3: Report
Attended site and found on arrival that the control system had shut down due to no pressure in system found that the pressurisation unit pump had failed on the seals which is non serviceable. Carried out a temporary repair by fitting in a fill point and linking out the unit alarms so could get all building operational again. So pump and housing required for Hamworthy chesil pressurisation unit or total replacement

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16220
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16220
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16220
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16220
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16220
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes