## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 Welby Way
Coxhoe
Durham
DH6 4BT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-16270
DATE OF REPORT: 31/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16270
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 21 Welby Way
Coxhoe
Durham
DH6 4BT
Carried Out On | 31/03/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
please investigate issues with heating system and resolve as per andy sutherland

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16270
SECTION 3: Report
Down stairs stat controlling upstairs rads except landing one. Upstairs stat is turning boiler on and heating leaving boiler and going to other zone valve which is opening but not feeding to the down stairs rads and just going down the by pass and back to boiler. So must be a blockage some where after the zone valve. Zone valves also wrong way round.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes