## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 William Keers Crescent
Dean Bank
Ferry hill
DL17 8RJ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-16479
DATE OF REPORT: 18/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16479
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 12 William Keers Crescent
Dean Bank
Ferry hill
DL17 8RJ
Carried Out On | 18/03/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
OOH callout - No heating or hot water.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16479
SECTION 3: Report
PN 18/3/22 3way valve leaking removed and cleaned rubber on top filled back up no leak visible put tissue under boiler asked tenant to check if it’s wet in morning if it is to ring me and I will let office know

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16479
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16479
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16479
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16479
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16479
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes