## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Silver Cross Way
Guiseley
Leeds
LS20 8JG
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 22-16513
DATE OF REPORT: 20/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16513
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 7 Silver Cross Way
Guiseley
Leeds
LS20 8JG
Carried Out On | 20/03/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No Heating / Hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16513
SECTION 3: Report
PN 20/3/22 Condense not draining released water from trap boiler fired up might need new overflow run customer will ring if any changes Heating and hot water working

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16513
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16513
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16513
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16513
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16513
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes