## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Ferndene
Theap Gardens
Howdon
NE28 7HT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-16558
DATE OF REPORT: 24/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16558
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Ferndene
Theap Gardens
Howdon
NE28 7HT
Carried Out On | 23/03/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
6 Month Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16558
SECTION 3: Report
Called to carry out ppm check 3 x Hamworthy Fleet f125v = 1 operational 2 operational 3 operational 2 x Hamworthy powerstock calorifiers = 1 operational 2 operational but has a faulty hi limit sensor 1 x Hamworthy chessil pressurisation unit = operational 2 x DHW expansion vessels 1 = repressurised to 3.5 bar 2 = repressurised to 3.5 bar 1 x C/H expansion vessel = repressurised to 1.4 bar System pressure charged to 1.5 bar Flue good Leak on condensate from Flue Lagging good Gauges good Gas interlock good PRV,S x 8 good 3 x schnieder m700 actuators = operational 2 x biral destrat pumps 1 = operational. 0.4 amps 2 = operational 0.3 amps 2 x Grundfos magna3d 40-150 heating pumps 1= operational 0.5 amps 2 = operational 0.7 amps 2 x Grundfos magna3d 40-120 primary pumps 1 = operational 0.4 amps 2 = operational 0.6 amps 1 x secondary return pump Grundfos 25-60 1= operational 0.3 amps

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16558
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16558
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16558
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16558
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16558
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes