## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Moorcroft
Bowman Drive
Dudley
NE23 7FF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-16563
DATE OF REPORT: 06/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16563
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Moorcroft
Bowman Drive
Dudley
NE23 7FF
Carried Out On | 18/05/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16563
SECTION 3: Report
Arrived on site to carry out ppm 3 x remeha quinta Pro 115 1= operational after cleaned sensor= off parts required 3 = operational 2 x remeha 500 calorifiers 1 = operational but leaking on immersion heaters 2 = operational but leaking on immersion heaters 3 x Siemens actuators = operational 3 x 3 port valves = operational Flue pipe showing signs of distress 1 x flamco pressurisation unit = new 1 x gas interlock = operational Lagging = average 2 x DHW expansion vessels 1 = operational charged to 3.5 = operational charged to 3.5 1 x heating expansion vessel =operational charged to 1.5 2 x VT pumps Grundfos magna 65-120. 1 = operational 1.1 amps 2 = operational 1 amps 2 x primary pumps Grundfos magna 50-120 = operational 1.2 amps. magna3d 50-120 1 amps 1 x secondary return pump Grundfos = operational 0.7 amps Water test carried out PH 7.8 @ 40 degrees

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16563
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16563
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16563
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16563
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16563
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes