## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Brownsea Place
Millway 1
Sheriff Hill
NE9 5PZ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-16564
DATE OF REPORT: 29/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16564
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Brownsea Place
Millway 1
Sheriff Hill
NE9 5PZ
Carried Out On | 24/03/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
6 Month Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16564
SECTION 3: Report
Called to carry out ppm 2 x potterton paramount four boilers = operational 1 x senertec CHP = isolated and not working 1 x buffer vessel = isolated from system and not in use 1 x ACV SMART calorifier = operational and no leaks 1 x TMV from flow outlet of calorifier = set to 60 degrees and functional 1 x wilo cold water booster set = operational and no leaks 2 x PRV,S = operational and not passing 1 x Grundfos magna1 40-120 pump = operational , 0.6 amps 1 x Grundfos magna1 50-120 pump = operational , 0.7 amps 1 x Grundfos magna1 32-60 pump = operational 0.2 amps 1 x Grundfos secondary return pump = operational 0.4 amps 2 x Grundfos magna1 32-60 shunt pumps = operational 0.2 amps x 2 1 x flamco pressurisation unit = operational and no leaks or faults 1 x C/H expansion vessel = repressurised to 1.5 bar 1 x DHW expansion vessel = repressurised to 3.5 bar 1 x esbe 3 port actuator = operational 1 x electro controls 3 port actuator = operational Lagging = ok Flues = good Valves = operational

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16564
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16564
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16564
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16564
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16564
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes