## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
47 St Johns Road
Hexham
Northumberland
NE46 2AT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-16615
DATE OF REPORT: 29/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16615
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 47 St Johns Road
Hexham
Northumberland
NE46 2AT
Carried Out On | 29/03/2022
Survey Completed By | Paul Clifford
SECTION 2: Introduction
Replace boiler. Please replace combi boiler asap. Notes from heating engineer "old vaillant ecotec 824 multiple component failure's recommend replacing boiler". Property is an upstairs flat with a horizontal flue. Please let Peter Richardson know when the work will be undertaken. 07833047119

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16615
SECTION 3: Report
Needs patched in outside. Will need triple extension ladders out the back is on a steep hill. Also needs commissioned as no gas on so blanked off ecv. Tennant wasn't into get them to put gas on. Informed David H

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16615
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16615
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16615
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16615
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16615
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes