## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Oak Crescent
Kimblesworth
Chester-le-Street
DH2 3QA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-16662
DATE OF REPORT: 08/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16662
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 10 Oak Crescent
Kimblesworth
Chester-le-Street
DH2 3QA
Carried Out On | 08/04/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Please renew boiler as per Andy Sutherland

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16662
SECTION 3: Report
Boiler to be removed - baxi duo tec 28 Boiler Serial number - Boiler location - bed room cupboard Is 22mm gas pipe visible at boiler - yes Flue type - horizontal Any access requirements-ladders(second floor) Flue guard needed - no Stand off kit required - no Gas meter internal / external - internal Condensate pump required -no Condensate termination - external Updated controls required - yes Filter needed - magna clean pro 2 Number of radiators - 8 Size of pipework at radiators -10mm Number of bathrooms - 1 Electric shower - no Any other means of heating - no

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16662
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16662
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16662
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16662
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16662
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes